Instructions for use

To order Blood Collection Tubes

Roche CFDNA Collection tubes

Orders can be placed with Roche Diagnostics UKfor the CFDNA tubes alone:

Catalogue nuymber: 10666498001 KIT CFDNA COLLECTION TUBE 10 CEIVD

£101.14 excluding VAT (for 10 tubes).

Contact customer services (burgesshill.customerservice@roche.com) with a PO number or order via the Roche navify® Portal online ordering system.

OR

The CFDNA collection tubes kits can be ordered from AlphaLabs

Kit include 2 CFDNA collection tubes, packaging, boxes for postage of the sample and a pre-paid Royalmail 24 tracked postage label.

Product code is VBC-KIT-MU-01. Please contact solutions@alphalabs.co.uk to order.

Please note only the Roche CFDNA collection tubes can be accepted for testing.

Instructions for Sample Collection:

Check blood tube expiry date and tubes contain only clear liquid and are free of any foreign matter.

Collect 2 x tubes of whole blood – 8.5ml per tube

Prevent backflow; tubes contain chemical additives and it is important to avoid backflow into the patient.

Collect specimen by venipuncture according to CLSI H3-A61

DO NOT FREEZE OR REFRIGERATE blood samples. Temperature is important. Keep at ambient temperature.

Label tubes with a minimum of 3 patient identifiers

Mix Tubes by inversion – mix by gentle inversion 8 to 10 times

Place labelled tubes with enough absorbent material to contain any leakage in a sealed plastic bag or 50 ml screw cap tube. Pack this bag or container in a box or other suitable packaging, cushioned so that the blood tube is protected from breakage, and include the completed request form.

Send to:

NW Genomic Laboratory Hub – ctDNA service

Sample Reception

6th Floor

St Mary’s Hospital

Oxford Road

M13 9WL

nstructions1